## BOQ
BOQ — Double Storey 10 Marla House (Civil Works Only)
Illustrative planning/tender template. Verify quantities against approved drawings, soil report, specifications and local bylaws before use.
Plot area (sq ft) | 2250
Assumed total covered area (sq ft) | 4500
Storeys | 2
Currency | PKR
Quantity basis | Illustrative / editable
Item Code | Section | Description | Unit | Qty | Unit Rate (PKR) | Amount (PKR) | Contractor Qty | Consultant Verified | Client Note
MOB-01 | Mobilization | Mobilization, site establishment and initial setting out | LS | 1 |  |  | 1
MOB-02 | Mobilization | Temporary site office/store, basic barricading and safety setup | LS | 1 |  |  | 1
MOB-03 | Mobilization | Temporary water/power arrangements for construction activities | LS | 1 |  |  | 1
MOB-04 | Mobilization | Demobilization and site clearance after civil works | LS | 1 |  |  | 1
GRY-01 | Grey Structure | Site clearance and disposal of construction debris | LS | 2 |  |  | 2
GRY-02 | Grey Structure | Excavation for foundations including disposal within site | CFT | 1300 |  |  | 1300
GRY-03 | Grey Structure | Compacted backfilling under floors and around foundations | CFT | 1000 |  |  | 1000
GRY-04 | Grey Structure | PCC 1:4:8 / lean concrete under foundations | CFT | 190 |  |  | 190
GRY-05 | Grey Structure | Reinforced concrete in footings, columns, beams and slabs | CFT | 2100 |  |  | 2100
GRY-06 | Grey Structure | Reinforcement steel for RCC works | KG | 29000 |  |  | 29000
GRY-07 | Grey Structure | Formwork/shuttering to RCC works | SFT | 14400 |  |  | 14400
GRY-08 | Grey Structure | Brick/block masonry in foundation and superstructure | CFT | 7800 |  |  | 7800
GRY-09 | Grey Structure | Damp proof course / bituminous treatment at required locations | RFT | 840 |  |  | 840
GRY-10 | Grey Structure | Internal and external cement plaster | SFT | 37000 |  |  | 37000
GRY-11 | Grey Structure | Roof waterproofing treatment including protective screed | SFT | 4500 |  |  | 4500
GRY-12 | Grey Structure | Roof/floor screed and slope formation | SFT | 4500 |  |  | 4500
GRY-13 | Grey Structure | RCC staircase including reinforcement and formwork | LS | 1 |  |  | 1
GRY-14 | Grey Structure | Parapet walls and coping | RFT | 440 |  |  | 440
FIN-01 | Finishing | Floor tiles / porcelain tiles including bedding and laying | SFT | 3700 |  |  | 3700
FIN-02 | Finishing | Wall tiles to bathrooms and kitchen areas | SFT | 2700 |  |  | 2700
FIN-03 | Finishing | Internal wall putty / skim coat | SFT | 32000 |  |  | 32000
FIN-04 | Finishing | Internal emulsion paint system | SFT | 32000 |  |  | 32000
FIN-05 | Finishing | External weather-resistant paint system | SFT | 10400 |  |  | 10400
FIN-06 | Finishing | Ceiling preparation and paint finish | SFT | 3800 |  |  | 3800
FIN-07 | Finishing | Internal solid-core / engineered timber doors including frames | NOS | 36 |  |  | 36
FIN-08 | Finishing | External main door including frame and hardware | NOS | 2 |  |  | 2
FIN-09 | Finishing | Aluminium/uPVC windows and glazed openings | SFT | 840 |  |  | 840
FIN-10 | Finishing | Staircase stone/tile finish including risers and treads | SFT | 720 |  |  | 720
FIN-11 | Finishing | Kitchen civil finish: counter base, countertop and tiled backsplash | LS | 2 |  |  | 2
FIN-12 | Finishing | Bathroom civil finish: vanity counter/top and associated stonework | LS | 8 |  |  | 8
FIN-13 | Finishing | External paving / porch / entrance civil finishes | SFT | 1800 |  |  | 1800
FIN-14 | Finishing | Boundary wall plaster and paint / finish | SFT | 3200 |  |  | 3200
TOTAL

## Summary
Section | Amount (PKR)
Mobilization
Grey Structure
Finishing
TOTAL
Note | Civil works only. MEP, loose furniture, appliances and professional fees are excluded.

## Assumptions
Parameter | Value
House type | Double storey 10 Marla
Plot area (sq ft) | 2250
Assumed total covered area (sq ft) | 4500
Storeys | 2
BOQ scope | Mobilization + Grey Structure + Finishing only
Excluded | Electrical, plumbing, HVAC, fire fighting, ELV, landscaping, loose furniture, appliances
Important | Quantities are illustrative and must be validated against architectural/structural drawings and specifications.